SHREWSBURY BOROUGH PLANNING COMMISSION

Regular Meeting								              April 26, 2021

Planners Present: Keith Wills, Stephen Mayoryk, and Tim Kitchell

Others Present: Brian L. Sweitzer, Supt. of Public Works; Justin Thornton, P.E.; Jeremy Kerstetter of South Penn Code Consultants(via Zoom); and Jason Brenneman, P.E.

Chairman Wills convened the regular meeting of the Shrewsbury Borough Planning Commission at 7:02 p.m. in the Municipal Building, 35 W. Railroad Avenue

APPROVAL OF MINUTES

S. Mayoryk moved to approve the minutes of the November 20, 2020 meeting.

T. Kitchell seconded.  The motion carried with all voting in favor.

CITIZEN COMMENTS

None were present.

NEW BUSINESS

Chick-fil-A Final Land Development Plan

The proposal is to expand the kitchen slightly on two sides.  There will be no additional seating and one or two seats may be lost by expanding the kitchen.  Parking spots along the front will be removed to make room for the second drive-thru lane but they still meet the parking space requirement.  Canopies will be added where the orders will be taken and where meals will be brought out.  A waiver is requested from stormwater for volume control because the property is in a wellhead protection zone and will not infiltrate anything into the ground.  Stormwater comments have all been addressed.  There are four outstanding items:  1) owners’ signatures and notary required seals, signatures and certifications.  To include a statement to the effect that the applicant is the owner of the land proposed to be developed and that the land development shown on the plan is made with their free consent and that it is desired to record the same; 2) payment of all fees is required before plans are recorded; 3) a public improvement bond or letter of credit should be provided; The Outlet Control Structure and Underground Detention Basin Details  located on sheet C9 show a proposed Underground Basin invert of 869.09.  the 3” outfall orifice invert is at 871.59 (2.5 feet higher).  The orifice size can be increased to 2” to prevent clogging.  Data will be corrected once the orifice is sized.  Eng. Thornton agreed to place a trash rack in front of the orifice.

Eng. Brenneman recommended approval of the plan pending the above comments as well as the waiver for volume control Section 303.

S. Mayoryk moved to recommend approval of the waiver for volume control under Section 303.

T. Kitchell seconded.  The motion carried with all voting in favor.

S. Mayoryk moved to recommend approval of the plan contingent on the above four items being resolved and that it proceed to Council at its May 12 meeting.

K. Wills seconded.  The motion carried with all voting in favor after a brief discussion about the traffic pattern, turning radius, and number of parking spaces.  All items meet the requirements.  It was noted that stacking occurs, especially in the evenings, with vehicles parking on the travel lane of the south entrance into the shopping center and also onto Mount Airy Road at times.  This intersection was a poor design from the beginning.

OLD BUSINESS

COMMUNICATIONS

ADJOURNMENT

T. Kitchell moved to adjourn the meeting at 7:34 p.m.

S. Mayoryk seconded.  The motion carried with all voting in favor.

Submitted by Cindy Bosley