WELLHEAD PROTECTION COMMITTEE MEETING – October 16, 2024

Pumphouse east of the Chick-fil-A restaurant, Shrewsbury – 6:00 p.m.

Present:  Brian L. Sweitzer; David Brose and Jeff Rennoll, Shrewsbury Township Supervisors;  Dan Sipe, resident; Brad Dauberman, Fire Chief; Brandon Dean from PennDOT; Cindy Bosley, Sec.

CITIZEN’S COMMENTS

EXIT 4 DETENTION BASIN

There is an inlet on both sides of East Forrest Avenue that goes to the pond.  As part of the Exit 4 work and the Emergency Response plan, a valve was installed to isolate and contain any contamination in the pond that occurs east of the south bound exit ramp.  A demonstration of how the gate works in the riser was given.  Due to the gearing, it takes quite a while to open and close the gate.  Mr. Dean stated that signs are ordered to be placed near the pond to notify the person or party responsible for any spill within the vicinity of the pond to call 911 and the PennDOT York County Maintenance Office.  An updated list of names and numbers will be supplied for insertion into the Emergency Response Plan.  Mr. Dean said that a set date should in place for a yearly exercising of the wheel and gate.

BLUE APPLE VAPE AND SMOKE SHOP – 548 South Main Street (Zond 2)

The Facility Profile Sheet showed quantities under the limits so the store was allowed to go in at 548 South Main Street.

CAR WASH – 95 EAST FORREST AVENUE  (Zone 2)

The interested party was given a Facility Profile Sheet to complete but it is doubtful if they can meet the bulk storage limitations.  AutoZone has backed out.

RUTTER’S – 249 NORTH MAIN STREET  (Zone 2)

Rutter’s is purchasing the parcel next door to build a larger store.  The number of pumps and tanks would remain the same with new double-walled tanks being installed.  They would not sell diesel fuel.  They are in the process of completing the Facility Profile Sheet and sketch plan and will appear before the Committee in November or December.

WOODLYN WELL SRBC PERMIT

The amount of .120 MGD was permitted with the caveat to not pump from the well when the water table is below 860 feet above sea level.

GEOTHERMAL WELL APPLICATION

A well driller submitted an application for a geothermal well at 66 Brook Meadow Circle (Zone 2).  The ordinance requires a horizontal, closed loop system and the application was for a vertical, closed loop system.  The well driller did not pursue it after he understood the Ordinance.

PFAS SAMPLING

The Borough continues to sample.

HYDROGEOLOGIST COMPANY

Taylor Geoservices was sold to ARM Group.  The Taylor Geoservices employees are still our contact.  If prices increase, other companies will be contacted for pricing.

APPROVE MINUTES

A motion was made to approve the September 20, 2023 minutes but since there was not a quorum, it was deferred.

The meeting was adjourned at 6:50 p.m.

Submitted by Cindy Bosley