March 25, 2024

 



      

         PWSID#7670088

2023 Annual Drinking Water Quality Report
SHREWSBURY MUNICIPAL WATER COMPANY
Este informe contiene información importante acerca de su agua potable.  Haga que alguien lo traduzca para usted, ó hable con alguien que lo entienda.  (This report contains important information about your drinking water.  Have someone translate it for you, or speak with someone who understands it.)
WATER SYSTEM INFORMATION:
This report shows our water quality and what it means.  If you have any questions about this report or concerning your water utility, please contact Brian Sweitzer at (717)235-1427.  We want you to be informed about your water supply.  If you want to learn more, please attend any of our regularly scheduled meetings.  The meetings are held at 7:00PM on the second Wednesday of each month at the Shrewsbury Borough Building located at 35 West Railroad Avenue. 
SOURCES OF WATER:
Pumphouse 

Groundwater
East Forrest Avenue
PW-1


Groundwater
East Forrest Avenue

PW-2


Groundwater
East Forrest Avenue

Thompson Well

Groundwater
Cloverdale Avenue

Smith Well

Groundwater
Strassburg Circle

Blouse Well

Groundwater
Shetland Drive

Home Well

Groundwater
Shrewsbury Spirit Trust
Meadow Well

Groundwater
Brookmeadow Circle

Village Well

Groundwater
Shrewsbury Spirit Trust
Woodlyn Well

Groundwater
Woodland Drive

A Source Water Assessment of our sources was completed by the PA Department of Environmental Protection (Pa. DEP). The Assessment has found that our sources are potentially most susceptible to accidental spills.  Overall, our sources have moderate risk of significant contamination. A summary report of the Assessment is available on the Source Water Assessment & Protection Web page at 

 (http://www.dep.state.pa.us/dep/deputate/watermgt/wc/Subjects/SrceProt/SourceAssessment/default.htm). 
Complete reports were distributed to municipalities, water supplier, local planning agencies and PADEP offices.  Copies of the complete report are available for review at the Pa. DEP.
Regional Office, Records Management Unit at (717)705-4732.

MCLs are set at stringent levels. Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791).
MONITORING YOUR WATER:
We routinely monitor for contaminants in your drinking water according to federal and state laws.  The following tables show the results of our monitoring for the period of January 1, 2023 to December 31, 2023.  The State allows us to monitor for some contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of our data is from prior years in accordance with the Safe Drinking Water Act.  The date has been noted on the sampling results table.













Page 2
DEFINITIONS AND ABBREVIATIONS:
In this table you will find many terms and abbreviations with which you might not be familiar. To help you better understand these terms, we've provided the following definitions:

Non-Detects (ND) - laboratory analysis indicates that the contaminant is not present at a detectable level.  

Parts per million (ppm) or Milligrams per liter (mg/l) - one part per million corresponds to one minute in two years or a single penny in $10,000.

Parts per billion (ppb) or Micrograms per liter - one part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000. 

Picocuries per liter (pCi/L) - Picocuries per liter is a measure of the radioactivity in water.
Action Level – The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.  

Maximum Contaminant Level - The “Maximum Allowed” (MCL) is the highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal - The “Goal” (MCLG) is the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

Maximum Residual Disinfectant Level (MRDL) - The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.
Maximum Residual Disinfectant Level Goal (MRDLG)- The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contamination.
	

                                               TEST RESULTS


	Lead and Copper – Sample period from 06/01/2022 to 09/30/2022 – 20 samples collected

	Contaminant
	Action Level (AL)
	MCLG
	90th Percentile Value
	Units
	# Of Sites Above AL of Total Sites
	Violation Y/N
	Sources of

Contamination

	Lead
 (2022)
	15
	0
	4.0
	ppb
	1
	N
	Corrosion of household plumbing.

	Copper

 (2022)
	1.3
	1.3
	0.741
	ppm
	0


	N
	Corrosion of household plumbing.

	Microbiological Contaminants

	Contaminant 

(Unit of Measurement)
	MCL
	MCLG
	Highest # Positive Samples
	Violation Y/N
	Sources of Contamination

	Total Coliform Bacteria

 (2023)
	More than 1 positive monthly sample
	0
	0
	N
	Naturally present in 

the environment

	Chemical Analyses
 

	Contaminant (Unit of Measurement)
	Violation Y/N
	Level

Detected
	Range
	MCL
	MCLG
	Likely Source of

Contamination

	Radium 226 (pCi/l)
(2023)
	N
	0
	- - - - - - -


	5
	0
	Erosion of Natural

Deposits               

	Radium 228 (pCi/l)

(2023)
	N
	2.93
	- - - - - - -


	5
	0
	Erosion of Natural

Deposits               

	 Page 3  

Chemical Analyses

	Contaminant (Unit of measurement)
	Violation

Y/N
	Level 

Detected
	Range
	MCL
	MCLG
	Likely Source of Contamination

	  Nitrate (ppm)

     (2023)
	N
	7.96 
	3.79-7.96
	10
	10
	Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits

	Barium (ppm)

(2023)
	N
	0.063
	0.18-0.063
	2
	2
	Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits.

	Nickel (ppb)

(2023)
	N
	0.007
	0.001-0.007
	N/A
	N/A
	Erosion of natural deposits

	Distribution Disinfection Residual

	Contaminant (Unit of measurement)
	Violation

Y/N
	Month of Highest Avg.
	Range
	MCL
	
	Likely Source of Contamination

	
	
	
	
	
	
	

	 Chlorine (ppm)

   (2023)
	N
	 1.45 

(May)
	0.21-1.45
	MRDL = 4
	
	Water additive control

microbes

	Disinfection Byproducts-TTHM/HAA Analyses


	 Chemical

  Contaminant
	Violation

Yes/No
	Level Detected
	Range
	MCL in CCR Units
	MCLG
	Major Sources in Drinking Water

	Trihalomethanes (TTHM) (ppb) (August 2023)
	N


	4.43

	4.43

	80


	N/A


	By-product of drinking water chlorination.



	Haloacetic Acids (HAA) (ppm) (August 2023)
	N
	0

	0
	60
	N/A
	By-product of drinking water disinfection

	Entry Point Disinfection Residuals - Minimum chlorine residual allowed = 0.4 ppm

	Contaminant


	Minimum 

Disinfectant 

Residual
	Lowest

Level 

Detected
	Range

Of 

Detections
	Units
	Sample 

Date
	Violation

   Y/N
	Sources of

Contamination

	Chlorine

(2023)


	    0.13
	     0.13 (2/24/23)
	0.13-2.07
	ppm
	2023
	N


	Water additive

used to control

Microbes.


VIOLATION NOTIFICATION:
· Some of the weekly chlorine residuals collected from our Distribution System during May 2023 were not reported by the 10th of the following month as is required.  These residuals were reported to DEP as soon as the error was discovered. 

· Several of the Entry Point November chlorine results had errors in the dates they were reported for.  The issue was corrected shortly after it was discovered, and no monitoring was missed.

Page 4

SPECIAL EDUCATIONAL STATEMENT FOR NITRATE






Nitrate in drinking water at levels above 10 ppm is a health risk for infants of less than six months of age.  High nitrate levels in drinking water can cause blue baby syndrome.  Nitrate levels may rise quickly for short periods of time because of rainfall or agricultural activity.  If you are caring for an infant, you should ask for advice from your health care provider.
EDUCATIONAL INFORMATION:

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.  Contaminants that may be present in source water include:

· Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

· Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban stormwater run-off, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

· Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and septic systems.

· Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.
If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Shrewsbury Municipal Water Company is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.
In order to ensure that tap water is safe to drink, EPA and DEP prescribe regulations which limit the amount of certain contaminants in water provided by public water systems.  FDA and DEP regulations establish limits for contaminants in bottled water which must provide the same protection for public health.
Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline (800-426-4791).

Please call our office if you have questions.

We at the Shrewsbury Municipal Water Company work around the clock to provide top quality water to every tap.  We ask that all our customers help us protect our water sources, which are the heart of our community, our way of life and our children’s future. 

